## in
[Header]
FileFormatVersion | 2
RunName | TSO500 ctDNA - local analysis - Novaseq6000
InstrumentPlatform | NovaSeq
IndexOrientation | Forward
[Reads]
Read1Cycles | 151
Read2Cycles | 151
Index1Cycles | 10
Index2Cycles | 10
[Sequencing_Settings]
LibraryPrepKits | TSO500ctDNA_v2
[BCLConvert_Settings]
SoftwareVersion | 2.1.1
AdapterRead1 | CTGTCTCTTATACACATCT
AdapterRead2 | CTGTCTCTTATACACATCT
MaskShortReads | 35
OverrideCycles | U7N1Y143;I10;I10;U7N1Y143
AdapterBehavior | trim
MinimumTrimmedReadLength | 35
[BCLConvert_Data]
Sample_ID | index | index2
Test_Sample_UDP0001-A01 | GAACTGAGCG | CGCTCCACGA
Test_Sample_UDP0002-B01 | AGGTCAGATA | TATCTTGTAG
Test_Sample_UDP0003-C01 | CGTCTCATAT | AGCTACTATA
Test_Sample_UDP0004-D01 | ATTCCATAAG | CCACCAGGCA
Test_Sample_UDP0005-E01 | GACGAGATTA | AGGATAATGT
Test_Sample_UDP0006-F01 | AACATCGCGC | ACAAGTGGAC
Test_Sample_UDP0007-G01 | CTAGTGCTCT | TACTGTTCCA
Test_Sample_UDP0008-H01 | GATCAAGGCA | ATTAACAAGG
Test_Sample_UDP0009-A02 | GACTGAGTAG | CACTATCAAC
Test_Sample_UDP0010-B02 | AGTCAGACGA | TGTCGCTGGT
Test_Sample_UDP0011-C02 | CCGTATGTTC | ACAGTGTATG
Test_Sample_UDP0012-D02 | GAGTCATAGG | AGCGCCACAC
Test_Sample_UDP0013-E02 | CTTGCCATTA | CCTTCGTGAT
Test_Sample_UDP0014-F02 | GAAGCGGCAC | AGTAGAGCCG
Test_Sample_UDP0015-G02 | TCCATTGCCG | TCGTGCATTC
Test_Sample_UDP0016-H02 | CGGTTACGGC | CTATAGTCTT
Test_Sample_UDP0017-A03 | GAGAATGGTT | TTGCTGCCGA
Test_Sample_UDP0018-B03 | AGAGGCAACC | CCATCATTAG
Test_Sample_UDP0019-C03 | CCATCATTAG | AGAGGCAACC
Test_Sample_UDP0020-D03 | GATAGGCCGA | GCCATGTGCG
Test_Sample_UDP0021-E03 | ATGGTTGACT | AGGACAGGCC
Test_Sample_UDP0022-F03 | TATTGCGCTC | CCTAACACAG
Test_Sample_UDP0023-G03 | ACGCCTTGTT | ACGTTCCTTA
Test_Sample_UDP0024-H03 | TTCTACATAC | TTACAGTTAG
Test_Sample_UDP0025-A04 | AACCATAGAA | CCATCTCGCC
Test_Sample_UDP0026-B04 | GGTTGCGAGG | TTGCTCTATT
Test_Sample_UDP0027-C04 | TAAGCATCCA | AATGGATTGA
Test_Sample_UDP0028-D04 | ACCACGACAT | CCGCATACGA
Test_Sample_UDP0029-E04 | GCCGCACTCT | CGAGGTCGGA
Test_Sample_UDP0030-F04 | CCACCAGGCA | ATTCCATAAG
Test_Sample_UDP0031-G04 | GTGACACGCA | GTCCGTAAGC
Test_Sample_UDP0032-H04 | ACAGTGTATG | CCGTATGTTC
Test_Sample_UDP0033-A05 | TGATTATACG | TGTAATCGAC
Test_Sample_UDP0034-B05 | CAGCCGCGTA | CACGGCTAGT
Test_Sample_UDP0035-C05 | GGTAACTCGC | TCACCAACTT
Test_Sample_UDP0036-D05 | ACCGGCCGTA | AATATTGCCA
Test_Sample_UDP0037-E05 | TGTAATCGAC | CGCGGTGATC
Test_Sample_UDP0038-F05 | GTGCAGACAG | ACGGATGGTA
Test_Sample_UDP0039-G05 | CAATCGGCTG | TTCCTACAGC
Test_Sample_UDP0040-H05 | TATGTAGTCA | CATTAGTGCG
Test_Sample_UDP0041-A06 | ACTCGGCAAT | TTCAGTTGTC
Test_Sample_UDP0042-B06 | GTCTAATGGC | CCTGACCACT
Test_Sample_UDP0043-C06 | CCATCTCGCC | AACCATAGAA
Test_Sample_UDP0044-D06 | CTGCGAGCCA | TGGCCGGATT
Test_Sample_UDP0045-E06 | CGTTATTCTA | AACCTTATGG
Test_Sample_UDP0046-F06 | AGATCCATTA | TGGTAGAGAT
Test_Sample_UDP0047-G06 | GTCCTGGATA | TTCGCCACCG
Test_Sample_UDP0048-H06 | CAGTGGCACT | CCTATTGTTA
Test_Sample_UDP0049-A07 | AGTGTTGCAC | CGTGTACCAG
Test_Sample_UDP0050-B07 | GACACCATGT | TACACGTTGA
Test_Sample_UDP0051-C07 | CCTGTCTGTC | TCACAACAGT
Test_Sample_UDP0052-D07 | TGATGTAAGA | AAGGACGCAC
Test_Sample_UDP0053-E07 | GGAATTGTAA | AGGATGTGCT
Test_Sample_UDP0054-F07 | GCATAAGCTT | TGCGACGGAA
Test_Sample_UDP0055-G07 | CTGAGGAATA | AGTGGTTAAG
Test_Sample_UDP0056-H07 | AACGCACGAG | TATCCGAGGC
Test_Sample_UDP0057-A08 | TCTATCCTAA | CCAGTCGACG
Test_Sample_UDP0058-B08 | CTCGCTTCGG | TTGACTAGTA
Test_Sample_UDP0059-C08 | CTGTTGGTCC | AACGGTCTAT
Test_Sample_UDP0060-D08 | TTACCTGGAA | CTGGAACTGT
Test_Sample_UDP0061-E08 | TGGCTAATCA | CTACATGCCT
Test_Sample_UDP0062-F08 | AACACTGTTA | TGAGACTTGC
Test_Sample_UDP0063-G08 | ATTGCGCGGT | GCGGAGCCAA
Test_Sample_UDP0064-H08 | TGGCGCGAAC | AGTATCAGTT
Test_Sample_UDP0065-A09 | TAATGTGTCT | TATGCCTTAC
Test_Sample_UDP0066-B09 | ATACCAACGC | CGCAGCAATT
Test_Sample_UDP0067-C09 | AGGATGTGCT | GGAATTGTAA
Test_Sample_UDP0068-D09 | CACGGAACAA | GTGCTAGGTT
Test_Sample_UDP0069-E09 | TGGAGTACTT | TCCACACAGA
Test_Sample_UDP0070-F09 | GTATTGACGT | TTGGAATTCC
Test_Sample_UDP0071-G09 | CTTGTACACC | AAGCGCGCTT
Test_Sample_UDP0072-H09 | ACACAGGTGG | ACAACGCTCA
Test_Sample_UDP0073-A10 | CCTGCGGAAC | AGCCTATGAT
Test_Sample_UDP0074-B10 | TTCATAAGGT | CCTTCTAACA
Test_Sample_UDP0075-C10 | CTCTGCAGCG | TACATCCATC
Test_Sample_UDP0076-D10 | CTGACTCTAC | TGACGGCCGT
Test_Sample_UDP0077-E10 | TCTGGTATCC | GTAAGCAACG
Test_Sample_UDP0078-F10 | CATTAGTGCG | TATGTAGTCA
Test_Sample_UDP0079-G10 | ACGGTCAGGA | AACGAGGCCG
Test_Sample_UDP0080-H10 | GGCAAGCCAG | CGGATGCTTG
Test_Sample_UDP0081-A11 | TGTCGCTGGT | AGTCAGACGA
Test_Sample_UDP0082-B11 | ACCGTTACAA | TCGCTATGAG
Test_Sample_UDP0083-C11 | TATGCCTTAC | TAATGTGTCT
Test_Sample_UDP0084-D11 | ACAAGTGGAC | AACATCGCGC
Test_Sample_UDP0085-E11 | TGGTACCTAA | AGTACTCATG
Test_Sample_UDP0086-F11 | TTGGAATTCC | GTATTGACGT
Test_Sample_UDP0087-G11 | CCTCTACATG | AGGAGGTATC
Test_Sample_UDP0088-H11 | GGAGCGTGTA | ACTTACGGAT
Test_Sample_UDP0089-A12 | GTCCGTAAGC | AAGATACACG
Test_Sample_UDP0090-B12 | ACTTCAAGCG | TTCATGGTTC
Test_Sample_UDP0091-C12 | TCAGAAGGCG | TATGATGGCC
Test_Sample_UDP0092-D12 | GCGTTGGTAT | GGAAGTATGT
Test_Sample_UDP0093-E12 | ACATATCCAG | ATTGCACATA
Test_Sample_UDP0094-F12 | TCATAGATTG | CACCTTAATC
Test_Sample_UDP0095-G12 | GTATTCCACC | TTGTCTACAT
Test_Sample_UDP0096-H12 | CCTCCGTCCA | CACCGATGTG
Test_Sample_UDP0097-A01 | TGCCGGTCAG | TTGTATCAGG
Test_Sample_UDP0098-B01 | CACTCAATTC | CACAACTTAA
Test_Sample_UDP0099-C01 | TCTCACACGC | TCACTGTCCG
Test_Sample_UDP0100-D01 | TCAATGGAGA | GTTGTAGTGC
Test_Sample_UDP0101-E01 | ATATGCATGT | CCAGGCACCA
Test_Sample_UDP0102-F01 | ATGGCGCCTG | AGGCCGTGGA
Test_Sample_UDP0103-G01 | TCCGTTATGT | TACACTACAA
Test_Sample_UDP0104-H01 | GGTCTATTAA | CGTGTCGTGG
Test_Sample_UDP0105-A02 | CAGCAATCGT | ATACATCACA
Test_Sample_UDP0106-B02 | TTCTGTAGAA | TATTGCGCTC
Test_Sample_UDP0107-C02 | GAACGCAATA | ACAGTAAGAT
Test_Sample_UDP0108-D02 | AGTACTCATG | ACCACGACAT
Test_Sample_UDP0109-E02 | GGTAGAATTA | TGATGGCTAC
Test_Sample_UDP0110-F02 | TAATTAGCGT | TTCTTAACCA
Test_Sample_UDP0111-G02 | ATTAACAAGG | ACGAACAACA
Test_Sample_UDP0112-H02 | TGATGGCTAC | ATGTTGTTGG
Test_Sample_UDP0113-A03 | GAATTACAAG | CTGAGCCGGT
Test_Sample_UDP0114-B03 | TAGAATTGGA | TCAGATTAAC
Test_Sample_UDP0115-C03 | AGGCAGCTCT | ACGTTAGCCG
Test_Sample_UDP0116-D03 | ATCGGCGAAG | AATTCTTGGA
Test_Sample_UDP0117-E03 | CCGTGACCGA | CAACGTTCGG
Test_Sample_UDP0118-F03 | ATACTTGTTC | TCGGCGGTTA
Test_Sample_UDP0119-G03 | TCCGCCAATT | CAGCACGGAG
Test_Sample_UDP0120-H03 | AGGACAGGCC | AGCTGGAATG
Test_Sample_UDP0121-A04 | AGAGAACCTA | TAGCATAACC
Test_Sample_UDP0122-B04 | GATATTGTGT | ACCGTGTGGT
Test_Sample_UDP0123-C04 | CGTACAGGAA | AGAGAACCTA
Test_Sample_UDP0124-D04 | CTGCGTTACC | TCGAGCCATA
Test_Sample_UDP0125-E04 | AGGCCGTGGA | AACGCACGAG
Test_Sample_UDP0126-F04 | AGGAGGTATC | TGCCAACTGG
Test_Sample_UDP0127-G04 | GCTGACGTTG | AATGCGAACA
Test_Sample_UDP0128-H04 | CTAATAACCG | CGATGCGGTT
Test_Sample_UDP0129-A05 | TCTAGGCGCG | TTAACCTTCG
Test_Sample_UDP0130-B05 | ATAGCCAAGA | CAGTGGCACT
Test_Sample_UDP0131-C05 | TTCGGTGTGA | ATACTTGTTC
Test_Sample_UDP0132-D05 | ATGTAACGTT | CAGCAATCGT
Test_Sample_UDP0133-E05 | AACGAGGCCG | ATCCAGGTAT
Test_Sample_UDP0134-F05 | TGGTGTTATG | TAGAATTGGA
Test_Sample_UDP0135-G05 | TGGCCTCTGT | CGCTGTCTCA
Test_Sample_UDP0136-H05 | CCAGGCACCA | TAATTAGCGT
Test_Sample_UDP0137-A06 | CCGGTTCCTA | CTCGAATATA
Test_Sample_UDP0138-B06 | GGCCAATATT | TATCGGACCG
Test_Sample_UDP0139-C06 | GAATACCTAT | ACTCTATTGT
Test_Sample_UDP0140-D06 | TACGTGAAGG | CTAATAACCG
Test_Sample_UDP0141-E06 | CTTATTGGCC | ACTTGTTATC
Test_Sample_UDP0142-F06 | ACAACTACTG | TGTGATAACT
Test_Sample_UDP0143-G06 | GTTGGATGAA | TTACCTGGAA
Test_Sample_UDP0144-H06 | AATCCAATTG | CCTCTACATG
Test_Sample_UDP0145-A07 | TATGATGGCC | TATGACAATC
Test_Sample_UDP0146-B07 | CGCAGCAATT | ATAGCGGAAT
Test_Sample_UDP0147-C07 | ACGTTCCTTA | CACAGCGGTC
Test_Sample_UDP0148-D07 | CCGCGTATAG | CCGGTTCCTA
Test_Sample_UDP0149-E07 | GATTCTGAAT | GTCCACCGCT
Test_Sample_UDP0150-F07 | TAGAGAATAC | CGAATCTATA
Test_Sample_UDP0151-G07 | TTGTATCAGG | TGGCCTCTGT
Test_Sample_UDP0152-H07 | CACAGCGGTC | CAATAGGAAT
Test_Sample_UDP0153-A08 | CCACGCTGAA | CTGAGGAATA
Test_Sample_UDP0154-B08 | GTTCGGAGTT | TCAGAAGGCG
Test_Sample_UDP0155-C08 | ATAGCGGAAT | TACTCTGCGC
Test_Sample_UDP0156-D08 | GCAATATTCA | AATTGGCGCC
Test_Sample_UDP0157-E08 | CTAGATTGCG | CGCCATATCT
Test_Sample_UDP0158-F08 | CGATGCGGTT | ACCAAGCAGG
Test_Sample_UDP0159-G08 | TCCGGACTAG | ATTGTTCGTC
Test_Sample_UDP0160-H08 | GTGACGGAGC | TGGACCGCCA
Test_Sample_UDP0161-A09 | AATTCCATCT | GTAACTGAAG
Test_Sample_UDP0162-B09 | TTAACGGTGT | ACGGTCAGGA
Test_Sample_UDP0163-C09 | ACTTGTTATC | TCTAGGCGCG
Test_Sample_UDP0164-D09 | CGTGTACCAG | AACTTATCCT
Test_Sample_UDP0165-E09 | TTAACCTTCG | TGTCTGGCCT
Test_Sample_UDP0166-F09 | CATATGCGAT | CCGTTCAAGG
Test_Sample_UDP0167-G09 | AGCCTATGAT | GTAGGTGGTG
Test_Sample_UDP0168-H09 | TATGACAATC | ATACAAGCAA
Test_Sample_UDP0169-A10 | ATGTTGTTGG | TCATAGATTG
Test_Sample_UDP0170-B10 | GCACCACCAA | ATCAGTACCA
Test_Sample_UDP0171-C10 | AGGCGTTCGC | GTTGGATGAA
Test_Sample_UDP0172-D10 | CCTCCGGTTG | TGGTGTTATG
Test_Sample_UDP0173-E10 | GTCCACCGCT | GCTAATAGGA
Test_Sample_UDP0174-F10 | ATTGTTCGTC | AATCTAGAGA
Test_Sample_UDP0175-G10 | GGACCAGTGG | TAGGCTCGCG
Test_Sample_UDP0176-H10 | CCTTCTAACA | AGAGCTTATC
Test_Sample_UDP0177-A11 | CTCGAATATA | TCGACATCTC
Test_Sample_UDP0178-B11 | GATCGTCGCG | ACATATCCAG
Test_Sample_UDP0179-C11 | TATCCGAGGC | CTTATTGGCC
Test_Sample_UDP0180-D11 | CGCTGTCTCA | GGTGAGTAAT
Test_Sample_UDP0181-E11 | AATGCGAACA | TCCGCCAATT
Test_Sample_UDP0182-F11 | AATTCTTGGA | AAGTTGACAA
Test_Sample_UDP0183-G11 | TTCCTACAGC | AGAATTCGCC
Test_Sample_UDP0184-H11 | ATCCAGGTAT | GCTGACGTTG
Test_Sample_UDP0185-A12 | ACGGTCCAAC | TGATGTAAGA
Test_Sample_UDP0186-B12 | GTAACTTGGT | AGGTATGGCG
Test_Sample_UDP0187-C12 | AGCGCCACAC | AAGACATTAG
Test_Sample_UDP0188-D12 | TGCTACTGCC | CCTCCGGTTG
Test_Sample_UDP0189-E12 | CAACACCGCA | TGCTACTGCC
Test_Sample_UDP0190-F12 | CACCTTAATC | TCTATCCTAA
Test_Sample_UDP0191-G12 | TTGAATGTTG | CTAGATTGCG
Test_Sample_UDP0192-H12 | CCGGTAACAC | AGTACAACTC
[TSO500L_Settings]
SoftwareVersion | 2.1.1
StartsFromFastq | FALSE
[TSO500L_Data]
Sample_ID | Sample_Type | Index_ID | Index | Index2
Test_Sample_UDP0001 | DNA | UDP0001 | GAACTGAGCG | CGCTCCACGA
Test_Sample_UDP0002 | DNA | UDP0002 | AGGTCAGATA | TATCTTGTAG
Test_Sample_UDP0003 | DNA | UDP0003 | CGTCTCATAT | AGCTACTATA
Test_Sample_UDP0004 | DNA | UDP0004 | ATTCCATAAG | CCACCAGGCA
Test_Sample_UDP0005 | DNA | UDP0005 | GACGAGATTA | AGGATAATGT
Test_Sample_UDP0006 | DNA | UDP0006 | AACATCGCGC | ACAAGTGGAC
Test_Sample_UDP0007 | DNA | UDP0007 | CTAGTGCTCT | TACTGTTCCA
Test_Sample_UDP0008 | DNA | UDP0008 | GATCAAGGCA | ATTAACAAGG
Test_Sample_UDP0009 | DNA | UDP0009 | GACTGAGTAG | CACTATCAAC
Test_Sample_UDP0010 | DNA | UDP0010 | AGTCAGACGA | TGTCGCTGGT
Test_Sample_UDP0011 | DNA | UDP0011 | CCGTATGTTC | ACAGTGTATG
Test_Sample_UDP0012 | DNA | UDP0012 | GAGTCATAGG | AGCGCCACAC
Test_Sample_UDP0013 | DNA | UDP0013 | CTTGCCATTA | CCTTCGTGAT
Test_Sample_UDP0014 | DNA | UDP0014 | GAAGCGGCAC | AGTAGAGCCG
Test_Sample_UDP0015 | DNA | UDP0015 | TCCATTGCCG | TCGTGCATTC
Test_Sample_UDP0016 | DNA | UDP0016 | CGGTTACGGC | CTATAGTCTT
Test_Sample_UDP0017 | DNA | UDP0017 | GAGAATGGTT | TTGCTGCCGA
Test_Sample_UDP0018 | DNA | UDP0018 | AGAGGCAACC | CCATCATTAG
Test_Sample_UDP0019 | DNA | UDP0019 | CCATCATTAG | AGAGGCAACC
Test_Sample_UDP0020 | DNA | UDP0020 | GATAGGCCGA | GCCATGTGCG
Test_Sample_UDP0021 | DNA | UDP0021 | ATGGTTGACT | AGGACAGGCC
Test_Sample_UDP0022 | DNA | UDP0022 | TATTGCGCTC | CCTAACACAG
Test_Sample_UDP0023 | DNA | UDP0023 | ACGCCTTGTT | ACGTTCCTTA
Test_Sample_UDP0024 | DNA | UDP0024 | TTCTACATAC | TTACAGTTAG
Test_Sample_UDP0025 | DNA | UDP0025 | AACCATAGAA | CCATCTCGCC
Test_Sample_UDP0026 | DNA | UDP0026 | GGTTGCGAGG | TTGCTCTATT
Test_Sample_UDP0027 | DNA | UDP0027 | TAAGCATCCA | AATGGATTGA
Test_Sample_UDP0028 | DNA | UDP0028 | ACCACGACAT | CCGCATACGA
Test_Sample_UDP0029 | DNA | UDP0029 | GCCGCACTCT | CGAGGTCGGA
Test_Sample_UDP0030 | DNA | UDP0030 | CCACCAGGCA | ATTCCATAAG
Test_Sample_UDP0031 | DNA | UDP0031 | GTGACACGCA | GTCCGTAAGC
Test_Sample_UDP0032 | DNA | UDP0032 | ACAGTGTATG | CCGTATGTTC
Test_Sample_UDP0033 | DNA | UDP0033 | TGATTATACG | TGTAATCGAC
Test_Sample_UDP0034 | DNA | UDP0034 | CAGCCGCGTA | CACGGCTAGT
Test_Sample_UDP0035 | DNA | UDP0035 | GGTAACTCGC | TCACCAACTT
Test_Sample_UDP0036 | DNA | UDP0036 | ACCGGCCGTA | AATATTGCCA
Test_Sample_UDP0037 | DNA | UDP0037 | TGTAATCGAC | CGCGGTGATC
Test_Sample_UDP0038 | DNA | UDP0038 | GTGCAGACAG | ACGGATGGTA
Test_Sample_UDP0039 | DNA | UDP0039 | CAATCGGCTG | TTCCTACAGC
Test_Sample_UDP0040 | DNA | UDP0040 | TATGTAGTCA | CATTAGTGCG
Test_Sample_UDP0041 | DNA | UDP0041 | ACTCGGCAAT | TTCAGTTGTC
Test_Sample_UDP0042 | DNA | UDP0042 | GTCTAATGGC | CCTGACCACT
Test_Sample_UDP0043 | DNA | UDP0043 | CCATCTCGCC | AACCATAGAA
Test_Sample_UDP0044 | DNA | UDP0044 | CTGCGAGCCA | TGGCCGGATT
Test_Sample_UDP0045 | DNA | UDP0045 | CGTTATTCTA | AACCTTATGG
Test_Sample_UDP0046 | DNA | UDP0046 | AGATCCATTA | TGGTAGAGAT
Test_Sample_UDP0047 | DNA | UDP0047 | GTCCTGGATA | TTCGCCACCG
Test_Sample_UDP0048 | DNA | UDP0048 | CAGTGGCACT | CCTATTGTTA
Test_Sample_UDP0049 | DNA | UDP0049 | AGTGTTGCAC | CGTGTACCAG
Test_Sample_UDP0050 | DNA | UDP0050 | GACACCATGT | TACACGTTGA
Test_Sample_UDP0051 | DNA | UDP0051 | CCTGTCTGTC | TCACAACAGT
Test_Sample_UDP0052 | DNA | UDP0052 | TGATGTAAGA | AAGGACGCAC
Test_Sample_UDP0053 | DNA | UDP0053 | GGAATTGTAA | AGGATGTGCT
Test_Sample_UDP0054 | DNA | UDP0054 | GCATAAGCTT | TGCGACGGAA
Test_Sample_UDP0055 | DNA | UDP0055 | CTGAGGAATA | AGTGGTTAAG
Test_Sample_UDP0056 | DNA | UDP0056 | AACGCACGAG | TATCCGAGGC
Test_Sample_UDP0057 | DNA | UDP0057 | TCTATCCTAA | CCAGTCGACG
Test_Sample_UDP0058 | DNA | UDP0058 | CTCGCTTCGG | TTGACTAGTA
Test_Sample_UDP0059 | DNA | UDP0059 | CTGTTGGTCC | AACGGTCTAT
Test_Sample_UDP0060 | DNA | UDP0060 | TTACCTGGAA | CTGGAACTGT
Test_Sample_UDP0061 | DNA | UDP0061 | TGGCTAATCA | CTACATGCCT
Test_Sample_UDP0062 | DNA | UDP0062 | AACACTGTTA | TGAGACTTGC
Test_Sample_UDP0063 | DNA | UDP0063 | ATTGCGCGGT | GCGGAGCCAA
Test_Sample_UDP0064 | DNA | UDP0064 | TGGCGCGAAC | AGTATCAGTT
Test_Sample_UDP0065 | DNA | UDP0065 | TAATGTGTCT | TATGCCTTAC
Test_Sample_UDP0066 | DNA | UDP0066 | ATACCAACGC | CGCAGCAATT
Test_Sample_UDP0067 | DNA | UDP0067 | AGGATGTGCT | GGAATTGTAA
Test_Sample_UDP0068 | DNA | UDP0068 | CACGGAACAA | GTGCTAGGTT
Test_Sample_UDP0069 | DNA | UDP0069 | TGGAGTACTT | TCCACACAGA
Test_Sample_UDP0070 | DNA | UDP0070 | GTATTGACGT | TTGGAATTCC
Test_Sample_UDP0071 | DNA | UDP0071 | CTTGTACACC | AAGCGCGCTT
Test_Sample_UDP0072 | DNA | UDP0072 | ACACAGGTGG | ACAACGCTCA
Test_Sample_UDP0073 | DNA | UDP0073 | CCTGCGGAAC | AGCCTATGAT
Test_Sample_UDP0074 | DNA | UDP0074 | TTCATAAGGT | CCTTCTAACA
Test_Sample_UDP0075 | DNA | UDP0075 | CTCTGCAGCG | TACATCCATC
Test_Sample_UDP0076 | DNA | UDP0076 | CTGACTCTAC | TGACGGCCGT
Test_Sample_UDP0077 | DNA | UDP0077 | TCTGGTATCC | GTAAGCAACG
Test_Sample_UDP0078 | DNA | UDP0078 | CATTAGTGCG | TATGTAGTCA
Test_Sample_UDP0079 | DNA | UDP0079 | ACGGTCAGGA | AACGAGGCCG
Test_Sample_UDP0080 | DNA | UDP0080 | GGCAAGCCAG | CGGATGCTTG
Test_Sample_UDP0081 | DNA | UDP0081 | TGTCGCTGGT | AGTCAGACGA
Test_Sample_UDP0082 | DNA | UDP0082 | ACCGTTACAA | TCGCTATGAG
Test_Sample_UDP0083 | DNA | UDP0083 | TATGCCTTAC | TAATGTGTCT
Test_Sample_UDP0084 | DNA | UDP0084 | ACAAGTGGAC | AACATCGCGC
Test_Sample_UDP0085 | DNA | UDP0085 | TGGTACCTAA | AGTACTCATG
Test_Sample_UDP0086 | DNA | UDP0086 | TTGGAATTCC | GTATTGACGT
Test_Sample_UDP0087 | DNA | UDP0087 | CCTCTACATG | AGGAGGTATC
Test_Sample_UDP0088 | DNA | UDP0088 | GGAGCGTGTA | ACTTACGGAT
Test_Sample_UDP0089 | DNA | UDP0089 | GTCCGTAAGC | AAGATACACG
Test_Sample_UDP0090 | DNA | UDP0090 | ACTTCAAGCG | TTCATGGTTC
Test_Sample_UDP0091 | DNA | UDP0091 | TCAGAAGGCG | TATGATGGCC
Test_Sample_UDP0092 | DNA | UDP0092 | GCGTTGGTAT | GGAAGTATGT
Test_Sample_UDP0093 | DNA | UDP0093 | ACATATCCAG | ATTGCACATA
Test_Sample_UDP0094 | DNA | UDP0094 | TCATAGATTG | CACCTTAATC
Test_Sample_UDP0095 | DNA | UDP0095 | GTATTCCACC | TTGTCTACAT
Test_Sample_UDP0096 | DNA | UDP0096 | CCTCCGTCCA | CACCGATGTG
Test_Sample_UDP0097 | DNA | UDP0097 | TGCCGGTCAG | TTGTATCAGG
Test_Sample_UDP0098 | DNA | UDP0098 | CACTCAATTC | CACAACTTAA
Test_Sample_UDP0099 | DNA | UDP0099 | TCTCACACGC | TCACTGTCCG
Test_Sample_UDP0100 | DNA | UDP0100 | TCAATGGAGA | GTTGTAGTGC
Test_Sample_UDP0101 | DNA | UDP0101 | ATATGCATGT | CCAGGCACCA
Test_Sample_UDP0102 | DNA | UDP0102 | ATGGCGCCTG | AGGCCGTGGA
Test_Sample_UDP0103 | DNA | UDP0103 | TCCGTTATGT | TACACTACAA
Test_Sample_UDP0104 | DNA | UDP0104 | GGTCTATTAA | CGTGTCGTGG
Test_Sample_UDP0105 | DNA | UDP0105 | CAGCAATCGT | ATACATCACA
Test_Sample_UDP0106 | DNA | UDP0106 | TTCTGTAGAA | TATTGCGCTC
Test_Sample_UDP0107 | DNA | UDP0107 | GAACGCAATA | ACAGTAAGAT
Test_Sample_UDP0108 | DNA | UDP0108 | AGTACTCATG | ACCACGACAT
Test_Sample_UDP0109 | DNA | UDP0109 | GGTAGAATTA | TGATGGCTAC
Test_Sample_UDP0110 | DNA | UDP0110 | TAATTAGCGT | TTCTTAACCA
Test_Sample_UDP0111 | DNA | UDP0111 | ATTAACAAGG | ACGAACAACA
Test_Sample_UDP0112 | DNA | UDP0112 | TGATGGCTAC | ATGTTGTTGG
Test_Sample_UDP0113 | DNA | UDP0113 | GAATTACAAG | CTGAGCCGGT
Test_Sample_UDP0114 | DNA | UDP0114 | TAGAATTGGA | TCAGATTAAC
Test_Sample_UDP0115 | DNA | UDP0115 | AGGCAGCTCT | ACGTTAGCCG
Test_Sample_UDP0116 | DNA | UDP0116 | ATCGGCGAAG | AATTCTTGGA
Test_Sample_UDP0117 | DNA | UDP0117 | CCGTGACCGA | CAACGTTCGG
Test_Sample_UDP0118 | DNA | UDP0118 | ATACTTGTTC | TCGGCGGTTA
Test_Sample_UDP0119 | DNA | UDP0119 | TCCGCCAATT | CAGCACGGAG
Test_Sample_UDP0120 | DNA | UDP0120 | AGGACAGGCC | AGCTGGAATG
Test_Sample_UDP0121 | DNA | UDP0121 | AGAGAACCTA | TAGCATAACC
Test_Sample_UDP0122 | DNA | UDP0122 | GATATTGTGT | ACCGTGTGGT
Test_Sample_UDP0123 | DNA | UDP0123 | CGTACAGGAA | AGAGAACCTA
Test_Sample_UDP0124 | DNA | UDP0124 | CTGCGTTACC | TCGAGCCATA
Test_Sample_UDP0125 | DNA | UDP0125 | AGGCCGTGGA | AACGCACGAG
Test_Sample_UDP0126 | DNA | UDP0126 | AGGAGGTATC | TGCCAACTGG
Test_Sample_UDP0127 | DNA | UDP0127 | GCTGACGTTG | AATGCGAACA
Test_Sample_UDP0128 | DNA | UDP0128 | CTAATAACCG | CGATGCGGTT
Test_Sample_UDP0129 | DNA | UDP0129 | TCTAGGCGCG | TTAACCTTCG
Test_Sample_UDP0130 | DNA | UDP0130 | ATAGCCAAGA | CAGTGGCACT
Test_Sample_UDP0131 | DNA | UDP0131 | TTCGGTGTGA | ATACTTGTTC
Test_Sample_UDP0132 | DNA | UDP0132 | ATGTAACGTT | CAGCAATCGT
Test_Sample_UDP0133 | DNA | UDP0133 | AACGAGGCCG | ATCCAGGTAT
Test_Sample_UDP0134 | DNA | UDP0134 | TGGTGTTATG | TAGAATTGGA
Test_Sample_UDP0135 | DNA | UDP0135 | TGGCCTCTGT | CGCTGTCTCA
Test_Sample_UDP0136 | DNA | UDP0136 | CCAGGCACCA | TAATTAGCGT
Test_Sample_UDP0137 | DNA | UDP0137 | CCGGTTCCTA | CTCGAATATA
Test_Sample_UDP0138 | DNA | UDP0138 | GGCCAATATT | TATCGGACCG
Test_Sample_UDP0139 | DNA | UDP0139 | GAATACCTAT | ACTCTATTGT
Test_Sample_UDP0140 | DNA | UDP0140 | TACGTGAAGG | CTAATAACCG
Test_Sample_UDP0141 | DNA | UDP0141 | CTTATTGGCC | ACTTGTTATC
Test_Sample_UDP0142 | DNA | UDP0142 | ACAACTACTG | TGTGATAACT
Test_Sample_UDP0143 | DNA | UDP0143 | GTTGGATGAA | TTACCTGGAA
Test_Sample_UDP0144 | DNA | UDP0144 | AATCCAATTG | CCTCTACATG
Test_Sample_UDP0145 | DNA | UDP0145 | TATGATGGCC | TATGACAATC
Test_Sample_UDP0146 | DNA | UDP0146 | CGCAGCAATT | ATAGCGGAAT
Test_Sample_UDP0147 | DNA | UDP0147 | ACGTTCCTTA | CACAGCGGTC
Test_Sample_UDP0148 | DNA | UDP0148 | CCGCGTATAG | CCGGTTCCTA
Test_Sample_UDP0149 | DNA | UDP0149 | GATTCTGAAT | GTCCACCGCT
Test_Sample_UDP0150 | DNA | UDP0150 | TAGAGAATAC | CGAATCTATA
Test_Sample_UDP0151 | DNA | UDP0151 | TTGTATCAGG | TGGCCTCTGT
Test_Sample_UDP0152 | DNA | UDP0152 | CACAGCGGTC | CAATAGGAAT
Test_Sample_UDP0153 | DNA | UDP0153 | CCACGCTGAA | CTGAGGAATA
Test_Sample_UDP0154 | DNA | UDP0154 | GTTCGGAGTT | TCAGAAGGCG
Test_Sample_UDP0155 | DNA | UDP0155 | ATAGCGGAAT | TACTCTGCGC
Test_Sample_UDP0156 | DNA | UDP0156 | GCAATATTCA | AATTGGCGCC
Test_Sample_UDP0157 | DNA | UDP0157 | CTAGATTGCG | CGCCATATCT
Test_Sample_UDP0158 | DNA | UDP0158 | CGATGCGGTT | ACCAAGCAGG
Test_Sample_UDP0159 | DNA | UDP0159 | TCCGGACTAG | ATTGTTCGTC
Test_Sample_UDP0160 | DNA | UDP0160 | GTGACGGAGC | TGGACCGCCA
Test_Sample_UDP0161 | DNA | UDP0161 | AATTCCATCT | GTAACTGAAG
Test_Sample_UDP0162 | DNA | UDP0162 | TTAACGGTGT | ACGGTCAGGA
Test_Sample_UDP0163 | DNA | UDP0163 | ACTTGTTATC | TCTAGGCGCG
Test_Sample_UDP0164 | DNA | UDP0164 | CGTGTACCAG | AACTTATCCT
Test_Sample_UDP0165 | DNA | UDP0165 | TTAACCTTCG | TGTCTGGCCT
Test_Sample_UDP0166 | DNA | UDP0166 | CATATGCGAT | CCGTTCAAGG
Test_Sample_UDP0167 | DNA | UDP0167 | AGCCTATGAT | GTAGGTGGTG
Test_Sample_UDP0168 | DNA | UDP0168 | TATGACAATC | ATACAAGCAA
Test_Sample_UDP0169 | DNA | UDP0169 | ATGTTGTTGG | TCATAGATTG
Test_Sample_UDP0170 | DNA | UDP0170 | GCACCACCAA | ATCAGTACCA
Test_Sample_UDP0171 | DNA | UDP0171 | AGGCGTTCGC | GTTGGATGAA
Test_Sample_UDP0172 | DNA | UDP0172 | CCTCCGGTTG | TGGTGTTATG
Test_Sample_UDP0173 | DNA | UDP0173 | GTCCACCGCT | GCTAATAGGA
Test_Sample_UDP0174 | DNA | UDP0174 | ATTGTTCGTC | AATCTAGAGA
Test_Sample_UDP0175 | DNA | UDP0175 | GGACCAGTGG | TAGGCTCGCG
Test_Sample_UDP0176 | DNA | UDP0176 | CCTTCTAACA | AGAGCTTATC
Test_Sample_UDP0177 | DNA | UDP0177 | CTCGAATATA | TCGACATCTC
Test_Sample_UDP0178 | DNA | UDP0178 | GATCGTCGCG | ACATATCCAG
Test_Sample_UDP0179 | DNA | UDP0179 | TATCCGAGGC | CTTATTGGCC
Test_Sample_UDP0180 | DNA | UDP0180 | CGCTGTCTCA | GGTGAGTAAT
Test_Sample_UDP0181 | DNA | UDP0181 | AATGCGAACA | TCCGCCAATT
Test_Sample_UDP0182 | DNA | UDP0182 | AATTCTTGGA | AAGTTGACAA
Test_Sample_UDP0183 | DNA | UDP0183 | TTCCTACAGC | AGAATTCGCC
Test_Sample_UDP0184 | DNA | UDP0184 | ATCCAGGTAT | GCTGACGTTG
Test_Sample_UDP0185 | DNA | UDP0185 | ACGGTCCAAC | TGATGTAAGA
Test_Sample_UDP0186 | DNA | UDP0186 | GTAACTTGGT | AGGTATGGCG
Test_Sample_UDP0187 | DNA | UDP0187 | AGCGCCACAC | AAGACATTAG
Test_Sample_UDP0188 | DNA | UDP0188 | TGCTACTGCC | CCTCCGGTTG
Test_Sample_UDP0189 | DNA | UDP0189 | CAACACCGCA | TGCTACTGCC
Test_Sample_UDP0190 | DNA | UDP0190 | CACCTTAATC | TCTATCCTAA
Test_Sample_UDP0191 | DNA | UDP0191 | TTGAATGTTG | CTAGATTGCG
Test_Sample_UDP0192 | DNA | UDP0192 | CCGGTAACAC | AGTACAACTC
[Cloud_Settings]
GeneratedVersion | 1.8.0.202304241921
[Cloud_Data]
Sample_ID | ProjectName | LibraryName | LibraryPrepKitName | IndexAdapterKitName
Test_Sample_UDP0001-A01 |  | Test_Sample_UDP0001_GAACTGAGCG_CGCTCCACGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0002-B01 |  | Test_Sample_UDP0002_AGGTCAGATA_TATCTTGTAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0003-C01 |  | Test_Sample_UDP0003_CGTCTCATAT_AGCTACTATA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0004-D01 |  | Test_Sample_UDP0004_ATTCCATAAG_CCACCAGGCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0005-E01 |  | Test_Sample_UDP0005_GACGAGATTA_AGGATAATGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0006-F01 |  | Test_Sample_UDP0006_AACATCGCGC_ACAAGTGGAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0007-G01 |  | Test_Sample_UDP0007_CTAGTGCTCT_TACTGTTCCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0008-H01 |  | Test_Sample_UDP0008_GATCAAGGCA_ATTAACAAGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0009-A02 |  | Test_Sample_UDP0009_GACTGAGTAG_CACTATCAAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0010-B02 |  | Test_Sample_UDP0010_AGTCAGACGA_TGTCGCTGGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0011-C02 |  | Test_Sample_UDP0011_CCGTATGTTC_ACAGTGTATG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0012-D02 |  | Test_Sample_UDP0012_GAGTCATAGG_AGCGCCACAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0013-E02 |  | Test_Sample_UDP0013_CTTGCCATTA_CCTTCGTGAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0014-F02 |  | Test_Sample_UDP0014_GAAGCGGCAC_AGTAGAGCCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0015-G02 |  | Test_Sample_UDP0015_TCCATTGCCG_TCGTGCATTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0016-H02 |  | Test_Sample_UDP0016_CGGTTACGGC_CTATAGTCTT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0017-A03 |  | Test_Sample_UDP0017_GAGAATGGTT_TTGCTGCCGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0018-B03 |  | Test_Sample_UDP0018_AGAGGCAACC_CCATCATTAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0019-C03 |  | Test_Sample_UDP0019_CCATCATTAG_AGAGGCAACC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0020-D03 |  | Test_Sample_UDP0020_GATAGGCCGA_GCCATGTGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0021-E03 |  | Test_Sample_UDP0021_ATGGTTGACT_AGGACAGGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0022-F03 |  | Test_Sample_UDP0022_TATTGCGCTC_CCTAACACAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0023-G03 |  | Test_Sample_UDP0023_ACGCCTTGTT_ACGTTCCTTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0024-H03 |  | Test_Sample_UDP0024_TTCTACATAC_TTACAGTTAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0025-A04 |  | Test_Sample_UDP0025_AACCATAGAA_CCATCTCGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0026-B04 |  | Test_Sample_UDP0026_GGTTGCGAGG_TTGCTCTATT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0027-C04 |  | Test_Sample_UDP0027_TAAGCATCCA_AATGGATTGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0028-D04 |  | Test_Sample_UDP0028_ACCACGACAT_CCGCATACGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0029-E04 |  | Test_Sample_UDP0029_GCCGCACTCT_CGAGGTCGGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0030-F04 |  | Test_Sample_UDP0030_CCACCAGGCA_ATTCCATAAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0031-G04 |  | Test_Sample_UDP0031_GTGACACGCA_GTCCGTAAGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0032-H04 |  | Test_Sample_UDP0032_ACAGTGTATG_CCGTATGTTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0033-A05 |  | Test_Sample_UDP0033_TGATTATACG_TGTAATCGAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0034-B05 |  | Test_Sample_UDP0034_CAGCCGCGTA_CACGGCTAGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0035-C05 |  | Test_Sample_UDP0035_GGTAACTCGC_TCACCAACTT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0036-D05 |  | Test_Sample_UDP0036_ACCGGCCGTA_AATATTGCCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0037-E05 |  | Test_Sample_UDP0037_TGTAATCGAC_CGCGGTGATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0038-F05 |  | Test_Sample_UDP0038_GTGCAGACAG_ACGGATGGTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0039-G05 |  | Test_Sample_UDP0039_CAATCGGCTG_TTCCTACAGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0040-H05 |  | Test_Sample_UDP0040_TATGTAGTCA_CATTAGTGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0041-A06 |  | Test_Sample_UDP0041_ACTCGGCAAT_TTCAGTTGTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0042-B06 |  | Test_Sample_UDP0042_GTCTAATGGC_CCTGACCACT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0043-C06 |  | Test_Sample_UDP0043_CCATCTCGCC_AACCATAGAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0044-D06 |  | Test_Sample_UDP0044_CTGCGAGCCA_TGGCCGGATT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0045-E06 |  | Test_Sample_UDP0045_CGTTATTCTA_AACCTTATGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0046-F06 |  | Test_Sample_UDP0046_AGATCCATTA_TGGTAGAGAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0047-G06 |  | Test_Sample_UDP0047_GTCCTGGATA_TTCGCCACCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0048-H06 |  | Test_Sample_UDP0048_CAGTGGCACT_CCTATTGTTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0049-A07 |  | Test_Sample_UDP0049_AGTGTTGCAC_CGTGTACCAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0050-B07 |  | Test_Sample_UDP0050_GACACCATGT_TACACGTTGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0051-C07 |  | Test_Sample_UDP0051_CCTGTCTGTC_TCACAACAGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0052-D07 |  | Test_Sample_UDP0052_TGATGTAAGA_AAGGACGCAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0053-E07 |  | Test_Sample_UDP0053_GGAATTGTAA_AGGATGTGCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0054-F07 |  | Test_Sample_UDP0054_GCATAAGCTT_TGCGACGGAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0055-G07 |  | Test_Sample_UDP0055_CTGAGGAATA_AGTGGTTAAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0056-H07 |  | Test_Sample_UDP0056_AACGCACGAG_TATCCGAGGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0057-A08 |  | Test_Sample_UDP0057_TCTATCCTAA_CCAGTCGACG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0058-B08 |  | Test_Sample_UDP0058_CTCGCTTCGG_TTGACTAGTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0059-C08 |  | Test_Sample_UDP0059_CTGTTGGTCC_AACGGTCTAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0060-D08 |  | Test_Sample_UDP0060_TTACCTGGAA_CTGGAACTGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0061-E08 |  | Test_Sample_UDP0061_TGGCTAATCA_CTACATGCCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0062-F08 |  | Test_Sample_UDP0062_AACACTGTTA_TGAGACTTGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0063-G08 |  | Test_Sample_UDP0063_ATTGCGCGGT_GCGGAGCCAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0064-H08 |  | Test_Sample_UDP0064_TGGCGCGAAC_AGTATCAGTT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0065-A09 |  | Test_Sample_UDP0065_TAATGTGTCT_TATGCCTTAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0066-B09 |  | Test_Sample_UDP0066_ATACCAACGC_CGCAGCAATT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0067-C09 |  | Test_Sample_UDP0067_AGGATGTGCT_GGAATTGTAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0068-D09 |  | Test_Sample_UDP0068_CACGGAACAA_GTGCTAGGTT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0069-E09 |  | Test_Sample_UDP0069_TGGAGTACTT_TCCACACAGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0070-F09 |  | Test_Sample_UDP0070_GTATTGACGT_TTGGAATTCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0071-G09 |  | Test_Sample_UDP0071_CTTGTACACC_AAGCGCGCTT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0072-H09 |  | Test_Sample_UDP0072_ACACAGGTGG_ACAACGCTCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0073-A10 |  | Test_Sample_UDP0073_CCTGCGGAAC_AGCCTATGAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0074-B10 |  | Test_Sample_UDP0074_TTCATAAGGT_CCTTCTAACA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0075-C10 |  | Test_Sample_UDP0075_CTCTGCAGCG_TACATCCATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0076-D10 |  | Test_Sample_UDP0076_CTGACTCTAC_TGACGGCCGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0077-E10 |  | Test_Sample_UDP0077_TCTGGTATCC_GTAAGCAACG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0078-F10 |  | Test_Sample_UDP0078_CATTAGTGCG_TATGTAGTCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0079-G10 |  | Test_Sample_UDP0079_ACGGTCAGGA_AACGAGGCCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0080-H10 |  | Test_Sample_UDP0080_GGCAAGCCAG_CGGATGCTTG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0081-A11 |  | Test_Sample_UDP0081_TGTCGCTGGT_AGTCAGACGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0082-B11 |  | Test_Sample_UDP0082_ACCGTTACAA_TCGCTATGAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0083-C11 |  | Test_Sample_UDP0083_TATGCCTTAC_TAATGTGTCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0084-D11 |  | Test_Sample_UDP0084_ACAAGTGGAC_AACATCGCGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0085-E11 |  | Test_Sample_UDP0085_TGGTACCTAA_AGTACTCATG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0086-F11 |  | Test_Sample_UDP0086_TTGGAATTCC_GTATTGACGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0087-G11 |  | Test_Sample_UDP0087_CCTCTACATG_AGGAGGTATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0088-H11 |  | Test_Sample_UDP0088_GGAGCGTGTA_ACTTACGGAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0089-A12 |  | Test_Sample_UDP0089_GTCCGTAAGC_AAGATACACG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0090-B12 |  | Test_Sample_UDP0090_ACTTCAAGCG_TTCATGGTTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0091-C12 |  | Test_Sample_UDP0091_TCAGAAGGCG_TATGATGGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0092-D12 |  | Test_Sample_UDP0092_GCGTTGGTAT_GGAAGTATGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0093-E12 |  | Test_Sample_UDP0093_ACATATCCAG_ATTGCACATA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0094-F12 |  | Test_Sample_UDP0094_TCATAGATTG_CACCTTAATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0095-G12 |  | Test_Sample_UDP0095_GTATTCCACC_TTGTCTACAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0096-H12 |  | Test_Sample_UDP0096_CCTCCGTCCA_CACCGATGTG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0097-A01 |  | Test_Sample_UDP0097_TGCCGGTCAG_TTGTATCAGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0098-B01 |  | Test_Sample_UDP0098_CACTCAATTC_CACAACTTAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0099-C01 |  | Test_Sample_UDP0099_TCTCACACGC_TCACTGTCCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0100-D01 |  | Test_Sample_UDP0100_TCAATGGAGA_GTTGTAGTGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0101-E01 |  | Test_Sample_UDP0101_ATATGCATGT_CCAGGCACCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0102-F01 |  | Test_Sample_UDP0102_ATGGCGCCTG_AGGCCGTGGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0103-G01 |  | Test_Sample_UDP0103_TCCGTTATGT_TACACTACAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0104-H01 |  | Test_Sample_UDP0104_GGTCTATTAA_CGTGTCGTGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0105-A02 |  | Test_Sample_UDP0105_CAGCAATCGT_ATACATCACA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0106-B02 |  | Test_Sample_UDP0106_TTCTGTAGAA_TATTGCGCTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0107-C02 |  | Test_Sample_UDP0107_GAACGCAATA_ACAGTAAGAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0108-D02 |  | Test_Sample_UDP0108_AGTACTCATG_ACCACGACAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0109-E02 |  | Test_Sample_UDP0109_GGTAGAATTA_TGATGGCTAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0110-F02 |  | Test_Sample_UDP0110_TAATTAGCGT_TTCTTAACCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0111-G02 |  | Test_Sample_UDP0111_ATTAACAAGG_ACGAACAACA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0112-H02 |  | Test_Sample_UDP0112_TGATGGCTAC_ATGTTGTTGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0113-A03 |  | Test_Sample_UDP0113_GAATTACAAG_CTGAGCCGGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0114-B03 |  | Test_Sample_UDP0114_TAGAATTGGA_TCAGATTAAC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0115-C03 |  | Test_Sample_UDP0115_AGGCAGCTCT_ACGTTAGCCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0116-D03 |  | Test_Sample_UDP0116_ATCGGCGAAG_AATTCTTGGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0117-E03 |  | Test_Sample_UDP0117_CCGTGACCGA_CAACGTTCGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0118-F03 |  | Test_Sample_UDP0118_ATACTTGTTC_TCGGCGGTTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0119-G03 |  | Test_Sample_UDP0119_TCCGCCAATT_CAGCACGGAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0120-H03 |  | Test_Sample_UDP0120_AGGACAGGCC_AGCTGGAATG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0121-A04 |  | Test_Sample_UDP0121_AGAGAACCTA_TAGCATAACC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0122-B04 |  | Test_Sample_UDP0122_GATATTGTGT_ACCGTGTGGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0123-C04 |  | Test_Sample_UDP0123_CGTACAGGAA_AGAGAACCTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0124-D04 |  | Test_Sample_UDP0124_CTGCGTTACC_TCGAGCCATA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0125-E04 |  | Test_Sample_UDP0125_AGGCCGTGGA_AACGCACGAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0126-F04 |  | Test_Sample_UDP0126_AGGAGGTATC_TGCCAACTGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0127-G04 |  | Test_Sample_UDP0127_GCTGACGTTG_AATGCGAACA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0128-H04 |  | Test_Sample_UDP0128_CTAATAACCG_CGATGCGGTT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0129-A05 |  | Test_Sample_UDP0129_TCTAGGCGCG_TTAACCTTCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0130-B05 |  | Test_Sample_UDP0130_ATAGCCAAGA_CAGTGGCACT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0131-C05 |  | Test_Sample_UDP0131_TTCGGTGTGA_ATACTTGTTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0132-D05 |  | Test_Sample_UDP0132_ATGTAACGTT_CAGCAATCGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0133-E05 |  | Test_Sample_UDP0133_AACGAGGCCG_ATCCAGGTAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0134-F05 |  | Test_Sample_UDP0134_TGGTGTTATG_TAGAATTGGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0135-G05 |  | Test_Sample_UDP0135_TGGCCTCTGT_CGCTGTCTCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0136-H05 |  | Test_Sample_UDP0136_CCAGGCACCA_TAATTAGCGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0137-A06 |  | Test_Sample_UDP0137_CCGGTTCCTA_CTCGAATATA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0138-B06 |  | Test_Sample_UDP0138_GGCCAATATT_TATCGGACCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0139-C06 |  | Test_Sample_UDP0139_GAATACCTAT_ACTCTATTGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0140-D06 |  | Test_Sample_UDP0140_TACGTGAAGG_CTAATAACCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0141-E06 |  | Test_Sample_UDP0141_CTTATTGGCC_ACTTGTTATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0142-F06 |  | Test_Sample_UDP0142_ACAACTACTG_TGTGATAACT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0143-G06 |  | Test_Sample_UDP0143_GTTGGATGAA_TTACCTGGAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0144-H06 |  | Test_Sample_UDP0144_AATCCAATTG_CCTCTACATG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0145-A07 |  | Test_Sample_UDP0145_TATGATGGCC_TATGACAATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0146-B07 |  | Test_Sample_UDP0146_CGCAGCAATT_ATAGCGGAAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0147-C07 |  | Test_Sample_UDP0147_ACGTTCCTTA_CACAGCGGTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0148-D07 |  | Test_Sample_UDP0148_CCGCGTATAG_CCGGTTCCTA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0149-E07 |  | Test_Sample_UDP0149_GATTCTGAAT_GTCCACCGCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0150-F07 |  | Test_Sample_UDP0150_TAGAGAATAC_CGAATCTATA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0151-G07 |  | Test_Sample_UDP0151_TTGTATCAGG_TGGCCTCTGT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0152-H07 |  | Test_Sample_UDP0152_CACAGCGGTC_CAATAGGAAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0153-A08 |  | Test_Sample_UDP0153_CCACGCTGAA_CTGAGGAATA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0154-B08 |  | Test_Sample_UDP0154_GTTCGGAGTT_TCAGAAGGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0155-C08 |  | Test_Sample_UDP0155_ATAGCGGAAT_TACTCTGCGC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0156-D08 |  | Test_Sample_UDP0156_GCAATATTCA_AATTGGCGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0157-E08 |  | Test_Sample_UDP0157_CTAGATTGCG_CGCCATATCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0158-F08 |  | Test_Sample_UDP0158_CGATGCGGTT_ACCAAGCAGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0159-G08 |  | Test_Sample_UDP0159_TCCGGACTAG_ATTGTTCGTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0160-H08 |  | Test_Sample_UDP0160_GTGACGGAGC_TGGACCGCCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0161-A09 |  | Test_Sample_UDP0161_AATTCCATCT_GTAACTGAAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0162-B09 |  | Test_Sample_UDP0162_TTAACGGTGT_ACGGTCAGGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0163-C09 |  | Test_Sample_UDP0163_ACTTGTTATC_TCTAGGCGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0164-D09 |  | Test_Sample_UDP0164_CGTGTACCAG_AACTTATCCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0165-E09 |  | Test_Sample_UDP0165_TTAACCTTCG_TGTCTGGCCT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0166-F09 |  | Test_Sample_UDP0166_CATATGCGAT_CCGTTCAAGG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0167-G09 |  | Test_Sample_UDP0167_AGCCTATGAT_GTAGGTGGTG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0168-H09 |  | Test_Sample_UDP0168_TATGACAATC_ATACAAGCAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0169-A10 |  | Test_Sample_UDP0169_ATGTTGTTGG_TCATAGATTG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0170-B10 |  | Test_Sample_UDP0170_GCACCACCAA_ATCAGTACCA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0171-C10 |  | Test_Sample_UDP0171_AGGCGTTCGC_GTTGGATGAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0172-D10 |  | Test_Sample_UDP0172_CCTCCGGTTG_TGGTGTTATG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0173-E10 |  | Test_Sample_UDP0173_GTCCACCGCT_GCTAATAGGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0174-F10 |  | Test_Sample_UDP0174_ATTGTTCGTC_AATCTAGAGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0175-G10 |  | Test_Sample_UDP0175_GGACCAGTGG_TAGGCTCGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0176-H10 |  | Test_Sample_UDP0176_CCTTCTAACA_AGAGCTTATC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0177-A11 |  | Test_Sample_UDP0177_CTCGAATATA_TCGACATCTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0178-B11 |  | Test_Sample_UDP0178_GATCGTCGCG_ACATATCCAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0179-C11 |  | Test_Sample_UDP0179_TATCCGAGGC_CTTATTGGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0180-D11 |  | Test_Sample_UDP0180_CGCTGTCTCA_GGTGAGTAAT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0181-E11 |  | Test_Sample_UDP0181_AATGCGAACA_TCCGCCAATT | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0182-F11 |  | Test_Sample_UDP0182_AATTCTTGGA_AAGTTGACAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0183-G11 |  | Test_Sample_UDP0183_TTCCTACAGC_AGAATTCGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0184-H11 |  | Test_Sample_UDP0184_ATCCAGGTAT_GCTGACGTTG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0185-A12 |  | Test_Sample_UDP0185_ACGGTCCAAC_TGATGTAAGA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0186-B12 |  | Test_Sample_UDP0186_GTAACTTGGT_AGGTATGGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0187-C12 |  | Test_Sample_UDP0187_AGCGCCACAC_AAGACATTAG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0188-D12 |  | Test_Sample_UDP0188_TGCTACTGCC_CCTCCGGTTG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0189-E12 |  | Test_Sample_UDP0189_CAACACCGCA_TGCTACTGCC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0190-F12 |  | Test_Sample_UDP0190_CACCTTAATC_TCTATCCTAA | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0191-G12 |  | Test_Sample_UDP0191_TTGAATGTTG_CTAGATTGCG | TSO500ctDNA_v2 | TSO500ctDNA_SetAB
Test_Sample_UDP0192-H12 |  | Test_Sample_UDP0192_CCGGTAACAC_AGTACAACTC | TSO500ctDNA_v2 | TSO500ctDNA_SetAB